## Slide 1: Refurbishment of multi-family blocks in Latvia with the help of EIB-ELENA TA facility
Maarja Meitern (Bax & Company)
On behalf of JNIP (Jelgavas Nekustamā Īpašuma Pārvalde SIA)

## Slide 2: Overview of the JELGAVA ELENA program
In Jelgava, Latvia, the municipal building maintenance company motivates and supports apartment owner associations in EE refurbishment process
Up to 52 buildings with a total of 2,500 dwellings will be retrofitted to energy class B using TA support
The project duration is 3 years, with starting date 01.12.2020
The main aim of the project is to increase the rate of refurbishment and quality of the refurbishments

## Slide 3: Current building condition
Mainly with energy label EPC E or F buildings;
The majority are built between 1960s-1990s;
Many buildings have not received any overhaul for several decades, neither cosmetic nor energetic;
50% of Latvian panel housing stock will wear out in 20-year time;

## Slide 4: Renovation preparation process

## Slide 5: Importance of consensus building
The number of dwelling in building can be anywhere between 4-160;
91% of dwellings in private ownership;
Energy efficiency renovations cost per building can vary between 100k – 1.4M EUR; loan component 50%;
At least 51% need to vote for going further with renovations; for loan this percentage can be higher, up to 75%;
Notes: http://energy-cities.eu/best-practice/energy-renovation-of-residential-buildings-through-soft-loans-and-third-party-financing/

## Slide 6: Current EE Renovation Cost
Renovations building type 104 – 16 dwellings |  |  | Details or Value | 
Investment Cost | Overall expected cost | [EUR] | 266,295 | 
 | Expected average cost | [EUR/m2] | 306 | 
 | Total m2 | m2 | 869 | 
 | Estimated cost of each measure to be implemented | [EUR] | Envelope Insulation (floor included): | 79,360
 |  |  | Planning and monitoring: | 16,165
 |  |  | Windows and doors | 107,280
 |  |  | Heating and ventilation: | 38,800
 |  |  | Scaffolding, entrance area, construction site equipment: | 16,165
 |  |  | Stairwell: | 24,690

## Slide 7: Serial refurbishment
“The type buildings typical of the 1950s and 1960s, the so-called ‘Khrushchyovkas’ and ‘Brezhnevkas’ are technically and morally worn out” - Knut Höller (IWO)
These are all in need of renovation and very likely suitable for serial renovation
In 2021 Q2 we will start conversations with preparation partners to better organise processes, optimise process in construction site, produce model specifications and order the serial refurbishment, that reduces the time considerably
Source: https://kodustiil.elu24.ee/4489161/ttu-loi-senisest-soodsama-tehnoloogia-kortermaja-renoveerimiseks

## Slide 8: Key facts about EIB-ELENA
Technical Assistance in preparing large-scale energy renovation investments from €30M up to €400M in coming 3-4 years;
Grant covers 90% of costs related to Feasibility studies, energy audits, business plans, tendering processes;
For a total grant of up to 10% of the realised investments in energy efficiency improvements
Non-competitive process

## Slide 9: JELGAVA & EIB-ELENA
BENEFITS
JNIP increases 6x capacity to develop projects;
Increase renovation quality and reduce costs by hiring experts;
Train more renovation managers – high demand on market;
Explore alternative ways of long-term financing;
Build the steady pipe-line to secure serial-refurbishment and construction partners to maintain renovation rate;
OBSTACLES
ELENA is great facility, lots of personal support from EIB staff in preparation process, but at the same time can be lengthy process to connect regional programme with EU rules
Difficult to get local / Jelgava ´trust´ and required commitments for EU program
Small country, limited capacity to invest thus, initial gap between ELENA minimum requirements

## Slide 10: References
Source: https://www.housingfinance.org/2021/03/29/housing-finance-international-spring-2021/

## Slide 11
BARCELONA (ES)
Telephone +34 93 476 04 44
C/ Casp 118-120
08013 Barcelona, Spain
CAMBRIDGE (UK)
Telephone +44-1223-967242
St. John’s Innovation Centre
Cowley Road CB4 0WS Cambridge, UK
ROTTERDAM (NL)
Telephone +31 (0)10 808 15 99
Stationsplein 45 (Kleinhandel)
3013 AK Rotterdam Rotterdam, The Netherlands
twitter.com/baxandcompany
linkedin.com/company/bax-and-company
THANK YOU!
GET IN TOUCH
Maarja Meitern m.meitern@baxcompany.com